Commissioning Plan

Project Name: _____________________________

Project Reference: _____________________________

Prepared By: _____________________________

Date: _____________________________

Purpose

This document sets out the plan for testing and commissioning all systems and installations to ensure they operate correctly, safely, and in accordance with design specifications.

Project Overview

| Item | Details |
| --- | --- |
| Client |  |
| Location |  |
| Programme Duration |  |
| Commissioning Start Date |  |
| Commissioning Completion Date |  |

Systems To Be Commissioned

| System / Equipment | Scope of Commissioning | Commissioning By | Witnessed By | Completion Date |
| --- | --- | --- | --- | --- |
| HVAC | Functional testing, balancing |  |  |  |
| Electrical Distribution | Tests, insulation resistance |  |  |  |
| Fire Alarm | Functionality, sound levels |  |  |  |
| Sprinklers | Pressure tests, flow rates |  |  |  |
| Lighting Controls | Functionality, dimming |  |  |  |
| Security Systems | Functionality, programming |  |  |  |
| Plumbing / Water Systems | Chlorination, testing |  |  |  |
| Other: __________ |  |  |  |  |

(Add rows as required.)

Commissioning Methodology

- Review design drawings and specifications.

- Prepare method statements for each system.

- Coordinate with specialist subcontractors.

- Prepare and issue Commissioning Programme.

- Conduct pre-commissioning checks.

- Carry out system commissioning.

- Record all test results and certificates.

- Arrange client witnessing sessions.

- Issue O&M Manuals incorporating commissioning records.

Documentation Required

- Method Statements

- Risk Assessments

- Test Sheets

- Certificates

- Witnessing Sign-Off Sheets

- O&M Manuals

- As-Built Drawings

Commissioning Witnessing Schedule

| Date | System | Description | Witnessed By | Outcome / Notes |
| --- | --- | --- | --- | --- |

Risks & Mitigations

| Risk | Mitigation Plan |
| --- | --- |
| Delay in specialist attendance | Schedule confirmations in advance |
| Failures during testing | Allow contingency time for rectification |

Sign-Off

Prepared By: ___________________________
Signature: _____________________________
Date: ___________________________

Reviewed By: ___________________________
Signature: _____________________________
Date: ___________________________

Approved By: ___________________________
Signature: _____________________________
Date: ___________________________